| Section of Water Sector Guidance | Current wording | Proposed amendment |
| --- | --- | --- |
| Water Sector Guidance (page 7) |  | Add in the following definition “Approved Contractors Schemes” definition – “A scheme which approves contractors, under the Water Supply (Water Fittings) Regulations 1999. For example, those listed by WaterSafe.org.uk such as the APLUS, Water Industry Approved Plumbers Scheme or Watermark”. |
| Section 7 of the Water Sector Guidance (page 20) | in the case of communications pipes, or plumbing, those accreditation schemes recognised by WRAS | in the case of communications pipes, or plumbing, accredited for a relevant scope of work by an Approved Contractors’ Scheme (for example a WaterSafe Water Supply Pipe Installer or Plumber |
| Appendix D - Design and Construction Specification |  | Add the following definitions into the Design and Construction Specification (page 7) 1. “Watersafe” definition – “WaterSafe is a website that lists approved contractors from six Approved Contractors’ Schemes across the UK”. 2. “Approved Contractors Schemes” definition – “A scheme which approves contractors, under the Water Supply (Water Fittings) Regulations 1999. For example, those listed by WaterSafe.org.uk such as the APLUS, Water Industry Approved Plumbers Scheme or Watermark”. |
| Design and Construction Specification, 12.2 Depth of services (page 30) | Service Pipes being designed outside this range shall have special protective measures vetted and agreed by the Approving Design Engineer. | Service Pipes being designed outside this range must be notified and consent given under the water fittings regulations and shall have special protective measures vetted and agreed by the Approving Design Engineer. |
| Design and Construction Specification, section 15.3 Marker Tape and Tracer Tape (page 32) | Marker Tape to be compliant with CESWI and Water Fittings Regulations. | Marker Tape to be compliant with CESWI and the Water Fittings Regulations (for example conforms to BS 1710) |
| Design and Construction Specification, section 15.3 Dedicated Fire Mains (page 34) | Dedicated fire mains shall be designed and constructed in accordance with Water Supply (Water Fittings) Regulations 2016 and fitted with backflow prevention, spiral wrapping and appropriate marker tape | Dedicated fire mains shall be designed and constructed in accordance with Water Supply (Water Fittings) Regulations 1999 this would include: fitted with appropriate backflow prevention and pipe identification (e.g. conforms to BS 1710) |
| Appendix 1 WIS & IGN, on page 45 |  | Add the standard BS 1710 and delete reference to IGN 9-04-05 which was withdrawn in March 2018 BS 1710; Specification for identification of pipelines and services. IGN 9-04-05; Report of the expert group on the risks of contamination of the public water supply by backflow at: http://wras.co.uk. |
| Appendix E -– Minimum information | All Service Pipe connections are to be notified by the SLP in accordance with the WIRS requirements and relative to Water Regulation inspections to allow witness and / or audit by the Water Company at its discretion or alternatively submit paperwork according to an Approved Plumbers Scheme. 3. Approved Plumbers Scheme certificate or Water Company Water Regulations inspection pass. | All Service Pipe connections are to be notified by the SLP in accordance with the WIRS requirements and relative to Water Regulation inspections to allow witness and / or audit by the Water Company at its discretion or alternatively submit paperwork according to an Approved Contractors Scheme. 3. Certificate of compliance from an approved contractor who is a member of an Approved Contractors’ Scheme or Water Company Water Regulations inspection pass. |
| WSG Appendix D – Template Design and Construction Specification, Definitions (Page 7) | WRAS - Water Regulation Advisory Service | WRAS – Water Regulations Approval Scheme WRUK – Water Regs UK Ltd |